## Slide 1: fire and evacuation drill
RCBC Plaza
Safety Officer

## Slide 2: Fire and evacuation Drill
FDAS Trigger
ERT Validation
Announcement
  “ This is a Drill (3x) Attention (3x) An Emergency has been reported, Please standby for further instruction” (2x)
Was the fire contained?
SD/HD/MPS triggered
Simultaneous activity internally to validate source of the alarm
YES
NO
“This is a Drill (3x)…” Trigger the pre-recorded emergency announcement instructing to evacuate the building.
Evacuation Commence
Remain in the building
General Alarm
Opening of all emergency exit doors
Homing of all elevators
Halt entry to Car Access/Basement Parking
Rescue of persons who need assistance,
  PWD, injured, pregnant
Activation of SEF & SPF
Continuous sounding of siren/alarm
Visitors to remain at the basement elevator lobbies
Traffic assistance from LGU enforcers
Internal coordination between PMO ERT
ERT mobilization of 1st responder
Ayala perimeter guard proceed to BFP and standby for further announcement
Raise alarm to next level -- Voice over instructions
Raise alarm to next level -- Voice over instructions
  Gives announcement:
Trigger General Alarm to alert all building occupants
Was the fire contained?
NO
YES
NO
Was the fire contained?
YES
A

## Slide 3: Fire and evacuation Drill
Convene at the Evacuation Sites
Activation of SEF & SPF
Continuos sounding of siren/alarm
Visitors to remain at the basement level elevator lobby
Traffic assistance from LGU enforcers
Headcounting of Tenants
Close coordination with PMO Fire Brigade Team – Endorse Color Coded Info Sheet
BFP orders Fire out?
Back to the building process
NO
YES
A
Return to Building
Fire Exit Cleared indication
  Orange Flag – Tower 1
  Yellow Flag – Tower 2
Marine fog horn will sound to call attention of those personnel in the evacuation areas
Green flag as indication to prepare to return to building
  B: Bravo, C:Charlie at Buendia side
  D: Delta, E:Echo at Ayala side

## Slide 4
Thank you for your attention